{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":19,"n_cols":9,"rows_kept":19,"merged":[[1,1,2,8]],"flags":["formulas_cached_only"]}
[]
[null,"2020年大亚湾区国家机关办公建筑和大型公共建筑能耗公示表"]
[]
["序 号","建筑详细名称","建筑类型","建筑面积（㎡)","耗电量(kwh)","单位面积年耗电量(kwh/(㎡)","供水量（立方）","天然气量（立方）","建筑详细地址"]
[1,"大亚湾区管委会行政大楼","政府办公",31300,2568516,82.06,144370,542,"惠州大亚湾区中兴南路118号"]
[2,"大亚湾区澳头街道办事处","政府办公",9372.69,359468,38.35,9720,0,"惠州大亚湾区进港东路"]
[3,"大亚湾区税务局综合办税1号大楼","政府办公",7563.19,480842,63.57,12658,13728,"惠州大亚湾区中兴五路106号"]
[4,"大亚湾区税务局综合办税2号大楼","政府办公",9938.59,679414,68.36,10180,12009,"惠州大亚湾区中兴南路112号"]
[5,"大亚湾区住房和规划建设局","政府办公",7230.97,517899,71.63,6608,4729,"惠州大亚湾区中兴五路126号"]
[6,"大亚湾区人民检察院","政府办公",6833.85,418205,61.2,5130,2628,"惠州大亚湾区中兴三路15号"]
[7,"大亚湾区财政局","政府办公",7160,473786,66.17,6825,7682,"惠州大亚湾区中兴五路101号"]
[8,"大亚湾区市场监督管理局","政府办公",2054.7,318291,154.96,8125,0,"惠州大亚湾区石化大道444号"]
[9,"大亚湾区供电局","政府办公",11828.46,834546,70.55,7425,5594,"惠州大亚湾区石化大道452号"]
[10,"大亚湾区西区街道办事处","政府办公",10540,572350,54.3,7905,6535,"惠州大亚湾龙海二路16路"]
[11,"中海大酒店","宾馆饭店",14730,687405,46.66,9513,0,"惠州大亚湾区北澳大道1号"]
[12,"鑫元大酒店","宾馆饭店",7294,644336,88.33,9364,12741,"惠州大亚湾区新澳大道四街6号"]
[13,"南山国际大厦","综合商务",40266.37,1561115,38.77,12730,0,"惠州大亚湾区中兴五路103号"]
[14,"惠州市中大惠亚医院","医疗卫生",79813.68,11838200,148.32,98882,16504,"惠州大亚湾区中兴北路186号"]
["合计",{"$nulls":3},21954373,null,349435,82692]

{"sheet":"Sheet2","index":1,"n_rows":20,"n_cols":8,"rows_kept":20,"merged":[[0,1,1,7]],"flags":["formulas_cached_only"]}
[null,"大亚湾区大型公共建筑能耗信息统计表"]
[]
["序  号","建筑详细名称","建筑类型","建筑面积（㎡)","年耗电量(kwh)","折算标准媒(吨)","年耗折算标准煤/㎡","年耗水量（立方米）"]
[1,"大亚湾检验检疫局综合实验用房","政府办公",10600,776237,95.5,null,14664]
[2,"大亚湾区环保局","政府办公",11000,110500,13.6,null,1161]
[3,"南山国际大厦","综合商务建筑",43672,690416,85,null,28039.5]
[4,"大亚湾区检察院办案及专业技术用房","政府办公",5755.2,290400,35.7,null,3060]
[5,"大亚湾区管委会科技楼","政府办公",29300,1620325.82,199.3,null,312684.32]
[6,"中海酒店","宾馆饭店",12368.66,1358025,167,null,31625]
[7,"丰华商务大厦","非政府办公",31518.22,47895,5.9,null,5000]
[8,"大亚湾公安局","政府办公",3200,1347150.3,165.7,null,107739.3]
[9,"大亚湾社保管理分局","政府办公",7716,46000,5.7,null,540]
[10,"大亚湾国家税务局","政府办公",7563.19,68000,8.4,null,27900]
[11,"大亚湾地税局培训楼","政府办公",9977.53,360000,44.3,null,7200]
[12,"大亚湾假日酒店","宾馆饭店",38680,4493322,552.7,null,76569]
[13,"澳头街道办事处办公楼","政府办公",9372,170400,21,null,9693]
[14,"大亚湾财政局","政府办公",4000,288000,35.4,null,4200]
[15,"大亚湾区住房和规划建设局","政府办公",7508,258000,31.8,null,5580]
[16,"大亚湾市容环境管理中心","政府办公",3322.6,95600,11.8,null,3080]
["合 计",null,null,235553.40000000002,12020271.120000001,1478.8000000000002,null,638735.12]

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}